## Sheet1
Residential Swimming Pool Heat Pump operating costs, New Zealand | [7 empty] | Southern Hemisphere Seasons |  |  | 38.85 S 174.76 E
2020-09-01 |  |  | This test used FILTERMASTER Heat Pumps (www.filtermaster.co.nz) | [6 empty] | 4.0 x 8.0 Cascade Freshwater Pool
Data courtesy of University of Auckland (NZ) Research Department. Data collected at Albert Park, Auckland NZ (adjusted + 5%) | [9 empty] | Pool Temp | 28 | Celcius
Test Pool CASCADE FRESHWATER STYROBECK INSULATED WALLS/THERMAL BUBBLE COVER FITTED OVERNIGHT + DAYS WHEN POOL NOT BEING USED
POTENTIAL SWIMMING SEASON SOLAR HEATED CASCADE POOL
|  | July | August | Sept | Oct | Nov | Dec | Jan | Feb | Mar | April | May | June
Days in month |  | 31 | 13 | 30 | 31 | 31 | 31 | 31 | 28 | 3 | 30 | 31 | 30
High |  | 15 | 16 | 17 | 18 | 20 | 22.5 | 24 | 25 | 23.5 | 20 | 17.5 | 15.5
Low |  | 7 | 8 | 10 | 12 | 12.5 | 15 | 16.5 | 17 | 16 | 14 | 11 | 8.5
Pool Water (Hi Lo/2.5) |  | 12 | 13 | 14 | 15 | 17 | 19.5 | 21 | 22 | 20.5 | 17 | 14.5 | 12.5
SOLAR + COVER adds |  | 0 | 0 | 3 | 3.5 | 4 | 4.5 | 5 | 5 | 4 | 3 | 0 | 0
WITH SOLAR + COVER |  | 0 | 0 | 17 | 18.5 | 21 | 24 | 26 | 27 | 24.5 | 20 | 0 | 0
Temp Increase needed |  | 16 | 15 | 14 | 13 | 11 | 8.5 | 7 | 6 | 7.5 | 11 | 13.5 | 15.5
Hours per day average |  |  |  | 3 | 2.5 | 2 | 1.5 | 0.5 | 0.5 | 2.5 | 3
Hours per month average |  |  |  | 90 | 77.5 | 62 | 46.5 | 15.5 | 14 | 7.5 | 90
Mthly Cost (After Initial Settling-In time) |  |  |  | 169.2 | 145.7 | 116.56 | 87.42 | 29.14 | 26.32 | 14.1 | 169.2
Annual Cost | 757.64 | July: - or -; August: 31.5683
Per Week
Heat Pump for this size CASCADE pool
| Filtermaster 7.8 | July: FM8; August: 1.6; Sept: 7.8; POTENTIAL SWIMMING SEASON SOLAR HEATED CASCADE POOL Oct: 0.28; POTENTIAL SWIMMING SEASON SOLAR HEATED CASCADE POOL Nov: Cents/Hr; POTENTIAL SWIMMING SEASON SOLAR HEATED CASCADE POOL Dec: 1.88; POTENTIAL SWIMMING SEASON SOLAR HEATED CASCADE POOL Jan: Per Hour
| Band Name | July: Model; August: Input Kw; Sept: Output Kw; POTENTIAL SWIMMING SEASON SOLAR HEATED CASCADE POOL Oct: Cost
This smaller heat pump does the job due to the Styrobeck Insulation and Solar Heat retention cover
Other pool types may not have these advantages
Non-Cascade Non-insulated pool types
Temp Increase needed |  | 16 | 15 | 14 | 13 | 11 | 8.5 | 7 | 6 | 7.5 | 11 | 13.5 | 15.5
Hours per day average |  |  |  | 4.5 | 3.75 | 3 | 2.25 | 0.75 | 0.75 | 3.75 | 4.5
Hours per month average |  |  |  | 135 | 116.25 | 93 | 69.75 | 23.25 | 21 | 11.25 | 135
Mthly Cost (After Initial Settling-In time) |  |  |  | 429.3 | 369.675 | 295.74 | 221.805 | 73.935 | 66.78 | 35.775 | 429.3
Annual Cost | 1922.31 | July: - or -; August: 80.0962
Per Week
Heat Pump for this size Other Type pool
| Filtermaster 7.8 | July: FM14; August: 2.9; Sept: 14.0; POTENTIAL SWIMMING SEASON SOLAR HEATED CASCADE POOL Oct: 0.28; POTENTIAL SWIMMING SEASON SOLAR HEATED CASCADE POOL Nov: Cents/Hr; POTENTIAL SWIMMING SEASON SOLAR HEATED CASCADE POOL Dec: 3.18; POTENTIAL SWIMMING SEASON SOLAR HEATED CASCADE POOL Jan: Per Hour
| Band Name | July: Model; August: Input Kw; Sept: Output Kw; POTENTIAL SWIMMING SEASON SOLAR HEATED CASCADE POOL Oct: Cost